| SAFE WORK PRACTICE |
| --- |
| TITLE | Electrical System Lockout |
| GENERAL | Protecting workers from injuries associated in working with electrical systems |
| APPLICATION | Where there is or may be a danger to a worker from the inadvertent operation of electrical equipment then that equipment must be locked out and tagged prior to commencing work. |
| PROTECTIVE MECHANISMS | Safe work procedure Permit system Lockout procedure PPE Lockout devices {padlocks, multiple lock hasps, tags} ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | To facilitate and/or provide proper instruction to their workers on protection requirements and training |
| WORKER RESPONSIBILITY | Switch off all appropriate devices (MCC, Distribution Panel, Disconnect). Lock and tag out Electrical Supply devices in the “OFF” position. Test to be sure the equipment cannot be operated at the STOP-START switch. Test to be sure electrical equipment is de-energized. After completion of task, remove padlocks and destroy tags. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |