| SAFE WORK PRACTICE |
| --- |
| TITLE | Mortar Mixers |
| GENERAL | Protecting workers from injuries associated with the operation of mortar mixers |
| APPLICATION | The mortar mixer is an integral part of the masonry industry, which requires trained worker to operate the equipment. |
| PROTECTIVE MECHANISMS | Safe work procedure Manufacturers specifications Permit system MSDS PPE ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure Manufacturer specifications |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Work site inspection |
| WORKER RESPONSIBILITY | Position the mixer on a firm solid base. Ensure that operating parts are secure. With gasoline-powered mixers, fill the tank using a funnel. If gear-driven, ensure the mixer is out of gear before starting. On electric mixers, ensure power outlet and motor frame are properly grounded. Ensure that guards over drive belts and gears are in place. Ensure proper mixture as recommended by manufacturer. Do not insert any tools while equipment is running. Keep hands out of mixer when equipment is running. Ensure good housekeeping. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |