| SAFE WORK PRACTICE |
| --- |
| TITLE | Opening And Guarding Manholes |
| GENERAL | Protecting workers from injuries associated with opening manholes |
| APPLICATION | Whenever the cover is to be removed from a manhole or when obstruction to traffic exists, precautions must be undertaken. |
| PROTECTIVE MECHANISMS | Safe work procedure Traffic control mechanisms Breathing air apparatus Air movers and monitors PPE Barricades and warning signs Confined Space Code of Practice/Permit system ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Hazard analysis Work site inspection |
| WORKER RESPONSIBILITY | Ensure obstructions to traffic shall be guarded by adequate signs, barricades, lights, flares or flags. Ensure a blow torch or other open flame is not utilized to melt ice around a manhole or vault cover. Ensure covers are removed and replaced by means of approved hooks or hoists. Ensue forced ventilation is used for oxygen deficiency. Ensure equipment is in good working conditions. Ensure you are trained in the use of breathing air apparatus. Before any work is done on a cable, it shall be identified by an approved method. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |