| SAFE WORK PRACTICE |
| --- |
| TITLE | Piling Installation |
| GENERAL | Protect workers from injuries associated with piling installation procedures |
| APPLICATION | Piling installation is an integral part in construction of structures. |
| PROTECTIVE MECHANISMS | Safe work procedure Site survey PPE ERP (Emergency Response Plan) Pile driving rig data Permit System |
| SELECTION AND USE | As per safe work procedures Manufacturers Specifications |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Inspect worksite Review piling subcontractor safe work procedures (if applicable) |
| WORKER RESPONSIBILITY | Set up signs and barricades. Line locations and scope of locations. Hand expose lines and cables. Maintain minimum clearance from underground, overhead lines and structures. Be aware of pinch points. Ensure tag lines are utilized. Ensure proper isolation/ barricading/ covering/ of open excavations/ cages/ drive piles. Ensure proper off loading of piling materials. Ensure that augering or drilling equipment is on stable ground and anchored properly. Ensure you are visible at all times to the rig operator. Follow piling safe work procedure step by step. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |