| SAFE WORK PRACTICE |
| --- |
| TITLE | Purging Pipelines |
| GENERAL | Protecting workers from injuries associated with purging of pipelines |
| APPLICATION | When the substance in the pipeline may be harmful to the workers or the environment and the release of that substance cannot be controlled, then the pipeline must be purged prior to undertaking any task. |
| PROTECTIVE MECHANISMS | Permit system Safe work procedure PPE Lockout procedure Blinding procedure Hazardous waste disposal procedure MSDS WHMIS ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Work site inspection |
| WORKER RESPONSIBILITY | Ensure pig is in good condition and proper size. Check for H2S gas before recovering pig. Ensure block valve on pig receiver is closed, then bleed off line pressure before checking pig. Ensure working pressure of line is not exceeded. Ensure pig is in good condition on recovery. Ensure fluid is properly contained and disposed of according to regulations. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |