| SAFE WORK PRACTICE |
| --- |
| TITLE | Rigging |
| GENERAL | Protecting workers from injuries associated with rigging operations |
| APPLICATION | Rigging of equipment, piping and valves is an integral part of construction operations. |
| PROTECTIVE MECHANISMS | Safe work procedure Rigging OH&S Code Part 21 PPE Permit system ERP (Emergency Response Plan) |
| SELECTION AND USE | As per safe work procedure Provincial OH&S Legislation |
| SUPERVISOR RESPONSIBILITY | Supervisors are responsible to facilitate and/or provide proper instruction to their workers on protection requirements and training Hazard analysis Worksite inspection |
| WORKER RESPONSIBILITY | Ensure you are competent in rigging procedures. Be acquainted with hand signals. Be aware of pinch points. Ensure you are in view of operator. Utilize a tag line. Ensure load is centred. Do not walk under suspended loads. Ensure wire chockers, slings and other equipment is in good condition. Be aware of the direction of the swing of load. Follow rigging safe work procedure step by step. |
| * The information presented in this publication is intended for general use and may not apply to every circumstance. It is not a definitive guide to government regulations and does not relieve persons using this publication from their responsibilities under applicable legislation. The Northern Safety Association does not guarantee the accuracy of, nor assume liability for, the information presented here. Individual counselling and advice are available from the Association. |